[image: image1.jpg]ABB

Quality Accredited





Level 3 Certificate in Fire Risk Assessment

Reading List   

This reading list is designed to supplement the training materials that will be provided by ABBE approved assessment centres to their candidates. Candidates are not required to read everything on the list; it should be used as a guide to further study in those areas where improvement in knowledge and understanding is required.

Background to the changes in approach to fire safety legislation:

A consultation document on the reform of fire safety legislation amending various Acts and

statutory instruments to simplify, rationalise and consolidate the law with respect to fire safety in buildings in use:   A Consultation Paper 

July 2002 July 2002 Office of the Deputy Prime Minister

Fire Safety an Employers Guide; 

HMO (archive) ISBN 0-11-341229-0 

Regulatory Reform (Fire Safety) Order 2005,

SI 2005/1541. The Stationery Office, 2005. ISBN 0 11 072945 5.

Fire Precautions Act 1971 (c 40)

The Stationery Office, 1971. ISBN 0 10 544071 X.

Fire Precautions (Workplace) Regulations 1997

SI 1997/1840. The Stationery Office, 1997.ISBN 0 11 064738 6.

Fire Precautions (Workplace) (Amendment) Regulations 1999

SI 1999/1877, The Stationery Office, 1999. ISBN 0 11 082882 8.

Workplace (Health, Safety and Welfare) Regulations 1992

SI 1992/3004.The Stationery Office,1992. ISBN 0 11 025804 5.

The Building Regulations 2000 (as amended 2001): Approved document B Fire Safety.
The Stationery Office. ISBN 0 11 753911-2.

Current information CLG Website:  Fire and Resilience:

The Regulatory Reform (Fire Safety) Order 
Draft Regulatory Impact Assessment: Regulatory Reform (Fire Safety) Order 2004
Statutory Instrument 2005 No. 1541
The Regulatory Reform (Fire Safety) Order 2005
Construction and Services

Advanced Construction Technology. 

Roy Chudley and Roger Greeno. Pearson Education. Fourth Edition. 2006. ISBN 0-132-01985-x

Barry’s Advanced Construction Technology. 
Stephen Emmitt Christopher Gorse. First Edition Blackwell Publishing. 2006. ISBN

Guidelines for the construction of fire-resisting structural elements.

W A Morris, R E H Read, G M E Cooke. BRE. 1988. ISBN

Essential building services and equipment. 2nd edition. 

Frederick Hall. Butterworth-Heinemann Ltd
Ensuring Best Practice For Passive Fire Protection In Buildings
Association for Specialist Fire Protection
Ensuring best practice for passive fire protection in buildings 

Building Research Establishment, 2003.ISBN 1 870409 19 1.

Fire resisting ductwork 2nd Edition An industry guide to design and installation
Association for Specialist Fire Protection
Principles of fire safety

BS 4422 Fire. Vocabulary. 
British Standards Institution

Fire from First Principles : A Design Guide to Building Fire Safety.

John Abrahams, Dr Paul Stollard and Paul Stollard. Third Edition Taylor & Francis Books Ltd. (1999). ISBN  978-0-419-24270-3

Fire safety engineering: a reference guide.

R Chitty, J Fraser-Mitchell. BRE. 2003.1-86081-630-4

Fire pack. A compilation of associated BRE publications

BRE. 2007. ISBN 978-1-86081-997-1

Facades on multi-storey buildings: A Fire Risk Assessment Guide.

Loss Prevention Council. ISBN 0 902790 09 X

Ignition and growth of fire in a room. 
P L Hinkley, A W Williams ISBN IP4/86

The behaviour of people in fire. 
A W Williams, J S Hopkinson. BRE 1985

Fire Safety in Offices (CD). 

Fire Protection Association. 0 902167 37-5 

Anatomy of a fire. (Video) 

BRE. 1982

The fire at Valley Parade, Bradford. (Video)

BRE. 1985. ISBN0 902167 37-5

Front room fire 2: (Video )

BRE 2001

Guidance Note 4 Protection Against Fire 

Institution of Electrical Engineers (IEE)  1999   ISBN-13: 9780852969571 

Modern methods of construction and fire protection considerations - report to insurers.

FPA (2005). ISBN 1902790383

Vol. 2 Fire and hazardous substances. CD-ROM edition.

Fire Protection Association

Fires and human behaviour. 

David Fulton Publishers, 2000. ISBN 1 85346 105 9

Fire Risk Assessment

A guide to risk assessment requirements INDG218
HSE Books 1996, ISBN 0 7176 1211, 2 Single copies free, multiple copies in priced packs.

Five steps to risk assessment INDG163
HSE Books 1998, ISBN 0 7176 1565 0, Single copies free, multiple copies in priced packs

Evaluation of fire safety

D. J. Rasbash, Ganapathy Ramachandran, Baldev Kandola, John M. Watts, Margaret Law. 2004 ISBN 0 471 49382 1 

PAS 79:2007 Fire risk assessment. Guidance and a recommended methodology

BSI

CLG Fire risk assessment guides

Fire Safety Risk Assessment - Animal Premises and Stables   Published: 23 October 2007 

Fire Safety Risk Assessment - Means of Escape for Disabled People (Supplementary Guide)  Published: 29 March 2007 

Regulatory Reform (Fire Safety) Order 2005 - A short guide to making your premises safe from fire  Published: 5 June 2006 

Fire Safety Risk Assessment - Offices and Shops  Published: 5 June 2006 

Fire Safety Risk Assessment - Factories and Warehouses  Published: 5 June 2006 

Fire Safety Risk Assessment - Sleeping Accommodation  Published: 5 June 2006 

Fire Safety Risk Assessment - Residential Care Premises  Published: 26 July 2006 

Fire Safety Risk Assessment - Educational Premises  Published: 5 June 2006 

Fire Safety Risk Assessment - Small and Medium Places of Assembly  Published: 5 June 2006 

Fire Safety Risk Assessment - Large Places of Assembly   Published: 5 June 2006 

Fire Safety Risk Assessment - Theatres, Cinemas and Similar Premises   Published: 8 June 2006 

Fire Safety Risk Assessment - Open Air Events and Venues   Published: 8 March 2007 

Fire Safety Risk Assessment - Healthcare premises   Published: 25 September 2006 

Fire Safety Risk Assessment - Transport Premises and Facilities   Published: 12 February 2007

BS 5588-5: Fire precautions in the design, construction and use of buildings. Access and facilities for firefighting. 
British Standards Institution.

BS 5588-8: Fire precautions in the design, construction and use of buildings. Code of practice for means of escape for disabled people. 
British Standards Institution.

BS 5588-11 Fire precautions in the design, construction and use of buildings.

Code of practice for shops, offices, industrial, storage and other similar buildings. 
British Standards Institution.

BS 5588-12: Fire precautions in the design, construction and use of buildings – Part 12: Managing fire safety. 
British Standards Institution.

BS 7974: Application of fire safety engineering principles to the design of buildings. Code of practice 
British Standards Institution. ISBN 0 580 38447 0.

The Building Regulations 1991: Approved Document M access to and use of buildings (2004 edition). 
The Stationery Office

Disability Discrimination Act 1995 (c 50). 
The Stationery Office, 1995  ISBN 0 10 545095 2.14 BS 8300

The design of buildings and their approaches to meet the needs of disabled people. Code of practice. 
British Standards Institution. ISBN 0 580 38438 1.

British Standards: informing the design, maintenance and assessment of extinguishers, fire detection and alarms, emergency lighting, fire safety signs

BS 5306-2: Fire extinguishing installations and equipment on premises. Specification for sprinkler systems. 
British Standards Institution.

BS 5306-3: Fire extinguishing installations and equipment on premises. Code of practice for the inspection and maintenance of portable fire extinguishers.

British Standards Institution. ISBN 0 580 42865 6.

BS 5306-8: Fire extinguishing installations and equipment on premises. Selection and installation of portable fire extinguishers. Code of practice. 

British Standards Institution.ISBN 0 580 33203 9.

BS BS 7863: Recommendations for colour coding to indicate the extinguishing media contained inportable fire extinguishers

British Standards Institution. ISBN 0 580 25845 9.

BS EN 12845: Fixed firefighting systems. Automatic sprinkler systems. Design, installation and maintenance. 

British Standards Institution. ISBN 0 580 44770 7.

BS 9990 Code of practice for non-automatic firefighting systems in buildings. 
British Standards Institution

BS 5839-1: Fire detection and alarm systems for buildings. Code of practice for system design, installation, commissioning and maintenance.

British Standards Institution. ISBN 0 580 40376 9.

BS 5839-3: Fire detection and alarm systems for buildings. Specification for automatic release mechanisms for certain fire protection equipment.

British Standards Institution  ISBN 0 580 15787 3.

BS 5266-8: Emergency lighting. Code of practice for emergency escape lighting systems.
British Standards Institution. 

BS 5266-1: Emergency lighting. Code of practice for the emergency lighting of premises other than cinemas and certain other specified premises used for entertainment. 
British Standards Institution.

BS 5499-1 Graphical symbols and signs. Safety signs, including fire safety signs. Specification for geometric shapes, colours and layout.

British Standards Institution.

BS 5499-4: Safety signs, including fire safety signs. Code of practice for escape route signing. British Standards Institution.

BS EN 1838: Lighting applications. Emergency lighting. 

British Standards Institution. ISBN 0 580 32992 5.

BS EN 671-3: Fixed firefighting systems. Hose systems. Maintenance of hose reels with semi-rigidhose and hose systems with lay-flat hose. 

British Standards Institution. ISBN 0 580 34112 7.

BS 7671 Requirements for electrical installations: IEE wiring regulations.  Design principles of fire safety. 
Office, 1996. ISBN 0 11 753045 X.

BS EN 1634-1: Fire resistance tests for door and shutter assemblies Fire doors and shutters. British Standards Institution. ISBN 0 580 32429 X.

BS EN 1154: Building hardware. Controlled door closing devices. Requirements and test methods.
British Standards Institution. ISBN 0 580 27476 4.

BS EN 1634-2: Fire resistance tests for door and shutter assemblies. Part 2. Fire door hardware.  Building hardware for fire resisting doorsets and openable windows.  
British Standards Institution.

BS 8214: Code of practice for fire door assemblies with non-metallic leaves.

British Standards Institution. ISBN 0 580 18871 6.

BS EN 1125: Building hardware. Panic exit devices operated by a horizontal bar. Requirements and test methods. 
British Standards Institution.

BS EN 179: Building hardware. Emergency exit devices operated by a lever handle orpush pad. Requirements and test methods.

British Standards Institution. ISBN 0 580 28863 3.

BS 8220: Guide for security of buildings against crime. Offices and shops.

British Standards Institution. ISBN 0 580 23692 7.

BS EN 1363-1: Fire resistance tests. General requirements. 
British Standards Institution.

Chemicals (Hazard Information and Packaging for Supply) Regulations 2002, SI 2002/1689.

The Stationery Office, 2002. ISBN 0 11 042419 0.

Guide to the safe warehousing of aerosols. 
British Aerosol Manufacturers Association.

The storage of flammable liquids in containers, HSG 51. Health and Safety Executive.

Manufacture and storage of explosives. Manufacture and Storage of Explosives Regulations 2005.Approved code of practice and guidance, L139. 

HSE Books, 2005. ISBN 0 7176 2816 7.

Fire safety; specialist areas

Design, construction, specification and fire management of insulated envelopes for temperaturecontrolled environments.

International Association for Cold Storage Construction.

Safe use of handling of flammable liquids, HSG140. 
HSE Books, 1996. ISBN 0 7176 0967 7.

Safe handling of combustible dusts: Precautions against explosions. HSG103 (second edition). HSE Books, 2003. ISBN 0 7176 2726 8.

Chemical warehousing: The storage of packaged dangerous substances, HSG71. 
HSE Books, 1998.ISBN 0 7176 1484 0.

Guidance on the assessment of fire risk: A practical approach. 
The Cold Storage and Distribution Federation, 2000.

Take care with oxygen: fire and explosion hazards in the use of oxygen HSE8 (rev1)
HSE Books 1999

Permit to work systems INDG98
HSE Books 1997, ISBN 0 7176 1331 3, Single copies free, multiple copies in priced packs

Petrol filling stations: Construction and operation HSG41
HSE Books 1990, ISBN 0 7176 0725 9

Safe handling of combustible dusts: Precautions against explosions HSG103
HSE Books 1991, ISBN 0 7176 0725 9

Safety in the installation and use of gas systems and appliances. The Gas Safety (Installations and Use) Regulations 1998. Approved Code of Practice and Guidance
HSE Books 1998, ISBN 0 7176 0870 0

The RFIC guide to the management and control of fire risks in temperature controlled structures of the refrigerated food industry
 The Cold Storage and Distribution Federation, 1996.

Fire safety in the paper and board industry
HSE Books 1995, ISBN 0 7176 08417

Fire safety in the printing industry
HSE Books 1992, ISBN 0 11 886375 4

Assessment of fire hazards from solid materials and the precautions required for their safe storage and use: A guide for manufacturers, suppliers, storekeepers and users
HSE Books 1991. ISBN 0 11 885654 5
HSE Books 1998. ISBN 0 7176 1559 6. Single copies free, multiple copies in priced packs

Chemical Warehousing: The storage of packaged dangerous substances HSG71
HSE Books 1998, ISBN 0 7176 1484 0

Dispensing petrol: Assessing and controlling the risk of fire and explosion at sites where petrol is stored and dispensed as a fuel HSG146 1996
HSE Books 1996, ISBN 0 7176 1048 9

Electricity on the farm Information sheet AS17
HSE Books 1990

Dust explosions in the food industry Information sheet FIS2
HSE Books 1993

Fairgrounds and amusement parks: Guidance on safe practise HSG175
HSE Books 1997 ISBN 0 7176 1174 4

Fire risk minimisation guidance. 
Food Industry Panels Group, 2003

The Storage of flammable liquids in tanks HSG176
HSE Books 1998, ISBN 0 7176 1470 0

Use of LPG in small bulk tanks Information Sheet CHIS4
HSE Books 1999

Use of LPG in cylinders Information Sheet CHIS5
HSE Books 1999

Fire precautions in warehouses and distribution buildings. 
The Fire Protection Association, 2002.

Fire safety of PTFE-based material used in building, BRE Report 274. 
Building Research Establishment, 1994. ISBN 0 851256 53 8.

Dangerous Substances and Explosive Atmospheres Regulations 2002
SI 2002/2776, The Stationery Office, 2002. ISBN 0 11 042957 5.

Dangerous substances and explosive atmospheres. Dangerous Substances and Explosive Atmospheres Regulations 2002.  Approved code of practice and guidance, L138. 
HSE Books, 2003.ISBN 0 7176 2203 7.

Storage of full and empty LPG cylinders and cartridges. Code of Practice 7.

LP Gas Association, 2000. 
Available from LP Gas Association, Pavilion 16, Headlands Business Park, Salisbury Road,Ringwood, Hampshire BH24 3PB
